Heat Alarm Questionnaire for Supplier

Please fill in Section 1 and 3 as a minimum and as much of Section 2 as possible.

|  |  |
| --- | --- |
| **Section 1: Essential information to return with the alarm** | |
| **Alarm ID**  *Please provide a unique reference/name for the alarm (this could be the serial No or an additional label you apply to the alarm)* |  |
| **Picture**  *Close up of alarm, preferably as installed (may be pasted here or provided as a separate file)* |  |
| **Picture**  *Zoomed out picture of alarm as installed in the environment (pasted here or as a separate file or image reference)* |  |
| **Manufacturer**  *Which company produced the alarm* |  |
| **Model**  *Usually combination of letter and/or numbers. For example [HA300]* |  |
| **Category**  *Please indicate which “mode/setting” was applied while the alarm was in service this can usually be found on the bottom of the heat alarm.* | A1 A2 B C D E F G  If so, which mode/setting was used? |
| **Reason for submitting the alarm:** | Manufactured prior to 2018? Y/N  Installed in a challenging environment? Y/N  Observed to be unusually/excessively dirty? Y/N  Comments: |
| **Age**  *Please indicate the installation and removal date in DD/MM/YY format and the no. of months in service. Use “??” if unknown (or a rough estimate) and “?” if the info is an estimate.* | Install date: \_\_\_\_\_ / \_\_\_\_\_\_ / \_\_\_\_\_\_  Removal date: \_\_\_\_\_ / \_\_\_\_\_\_ / \_\_\_\_\_\_  If above is unknown estimated months in service: \_\_\_\_\_\_\_\_ |
|  |  |
| **Where was the alarm installed?** | Kitchen (within 2m of a cooker)  Kitchen (>2m from a cooker)  Garage  Other (please specify): |
| **Recent test results**  *If the alarm was tested prior to removal, please indicate the result & provide further details below* | Pass Fail Not tested |

|  |  |
| --- | --- |
| **Section 2: Additional information** | |
| **Cleanliness of environment**  Assessment of cleanliness in immediate vicinity | Clean Dirty Very dirty |
| **Cleaning routine** | Never Every 2 years  Yearly  Every 6months  Other: …………….. |
| **Any extraction?** | Yes No  Internal filter/recirculation Externally vented |
| **Room features/use**  Are there any features/uses of the room which might have an impact on the alarm contamination/performance?  Please estimate how many meters they are from the alarm. | Hob Distance \_\_\_\_\_\_\_\_\_\_m  Oven Distance \_\_\_\_\_\_\_\_\_\_m  Extractor fan Distance \_\_\_\_\_\_\_\_\_\_m  Sink Distance \_\_\_\_\_\_\_\_\_\_m  Dish washer Distance \_\_\_\_\_\_\_\_\_\_m  Dirty process (please specify)  Dusty process (please specify)  Other (please specify) |
| **Further details on recent test results (if tested)**  *Please describe the test equipment used and the applied pass criteria.* | Did it pass when it was last tested with the test button?  Y/N  Was it functionally tested (with heat)?  Y/N |
| **Alarm history**  *Please provide details if the alarm has been exposed to a fire or has been the source of unwanted alarms.* |  |

|  |  |
| --- | --- |
| **Section 3: General information** | |
| **Details of individual/company**  *Please provide contact details (email/phone/mobile) in case we have further questions.* |  |