Heat Alarm Questionnaire for Supplier

Please fill in Section 1 and 3 as a minimum and as much of Section 2 as possible.

|  |
| --- |
| **Section 1: Essential information to return with the alarm** |
| **Alarm ID***Please provide a unique reference/name for the alarm (this could be the serial No or an additional label you apply to the alarm)* |  |
| **Picture***Close up of alarm, preferably as installed (may be pasted here or provided as a separate file)* |  |
| **Picture***Zoomed out picture of alarm as installed in the environment (pasted here or as a separate file or image reference)* |  |
| **Manufacturer***Which company produced the alarm*  |  |
| **Model** *Usually combination of letter and/or numbers. For example [HA300]* |  |
| **Category***Please indicate which “mode/setting” was applied while the alarm was in service this can usually be found on the bottom of the heat alarm.*  | A1[ ]  A2[ ]  B[ ]  C[ ]  D[ ]  E[ ]  F[ ]  G[ ] If so, which mode/setting was used? |
| **Reason for submitting the alarm:** | Manufactured prior to 2018? Y/NInstalled in a challenging environment? Y/NObserved to be unusually/excessively dirty? Y/NComments:  |
| **Age***Please indicate the installation and removal date in DD/MM/YY format and the no. of months in service. Use “??” if unknown (or a rough estimate) and “?” if the info is an estimate.*  | Install date: \_\_\_\_\_ / \_\_\_\_\_\_ / \_\_\_\_\_\_Removal date: \_\_\_\_\_ / \_\_\_\_\_\_ / \_\_\_\_\_\_If above is unknown estimated months in service: \_\_\_\_\_\_\_\_ |
|  |  |
| **Where was the alarm installed?** | Kitchen (within 2m of a cooker)[ ] Kitchen (>2m from a cooker)[ ] Garage[ ] Other (please specify):  |
| **Recent test results***If the alarm was tested prior to removal, please indicate the result & provide further details below* | Pass[ ]  Fail[ ]  Not tested[ ]   |

|  |
| --- |
| **Section 2: Additional information** |
| **Cleanliness of environment** Assessment of cleanliness in immediate vicinity | Clean[ ]  Dirty[ ]  Very dirty[ ]   |
| **Cleaning routine** | Never[ ]  Every 2 years [ ]  Yearly [ ]  Every 6months [ ] Other: …………….. |
| **Any extraction?**  | Yes[ ]  No[ ] Internal filter/recirculation[ ]  Externally vented[ ]  |
| **Room features/use**Are there any features/uses of the room which might have an impact on the alarm contamination/performance?Please estimate how many meters they are from the alarm. | Hob[ ]  Distance \_\_\_\_\_\_\_\_\_\_mOven[ ]  Distance \_\_\_\_\_\_\_\_\_\_m Extractor fan[ ]  Distance \_\_\_\_\_\_\_\_\_\_mSink[ ]  Distance \_\_\_\_\_\_\_\_\_\_mDish washer[ ]  Distance \_\_\_\_\_\_\_\_\_\_mDirty process (please specify)[ ]  Dusty process (please specify)[ ] Other (please specify)[ ]  |
| **Further details on recent test results (if tested)***Please describe the test equipment used and the applied pass criteria.* | Did it pass when it was last tested with the test button?Y/NWas it functionally tested (with heat)?Y/N |
| **Alarm history***Please provide details if the alarm has been exposed to a fire or has been the source of unwanted alarms.*  |  |

|  |
| --- |
| **Section 3: General information** |
| **Details of individual/company***Please provide contact details (email/phone/mobile) in case we have further questions.* |  |